This page was exported from FERRINCOLOR [    https://www.ferrincolor.com    ]

Export date: Thu Apr 18 5:42:10 2024 / +0000 GMT

# Stufa TermoPellet Diadema Idro Bianca 31.4kW 815m3

Price: € 5.290,00

SKU: SG12172

Product Categories: Riscaldamento PELLET

Product Tags: extraflame, Focolare e Porta In Ghisa, NORDICA, Stufa A TermoPellet Diadema Idro Bianca 28.4kW, Termopellet, TermoPellet Diadema, TermoPellet Diadema eXTRAFLAME

Product Page: https://www.ferrincolor.com/prodotto/stufa-termopellet-diadema-idro-bianca-28-4kw/

## Product Description

Diadema Idro

Termostufa a pellet con incluso kit acqua sanitaria

Caratteristiche: Rivestimento in maiolica  Cassetto cenere  Braciere  Scambiatore di calore con sistema di pulizia manuale  Termostato di sicurezza  Predisposizione per termostato esterno (TA)  Cronotermostato settimanale  Telecomando  Pompa di circolazione  Vaso di  Valvola di sicurezza 3 bar  Produzione di acqua calda sanitaria istantanea  Scheda espansione per gestione impianto integrata

6,7-28,4 kW Potenza termica nominale

25,2 kW-H2O Potenza resa all'acqua

815 m3 m³ riscaldabili

Rendimento >90 %

Dimensioni (L-H-P) 619x1304x689 mm

Peso Netto 259 kg

Consumo orario 1,5 - 6,5 kg/h

Diametro scarico fumi 120 mm

Capacità totale serbatoio ~ 48 kg

Classe Energetica A+

Certificazione Ambientale DM186 4 STELLE

## Product Attributes

- Dimensions: 0,00 × 0,00 × 0,00 mm

- Weight: 300.00 kg

Product added date: 2018-09-06 18:54:52

Product modified date: 2022-11-26 23:16:27

Product export as MS Document by WooCommerce PDF & Print plugin.

</ht